[image: image1.png]NITA

NORTH TEXAS TOLILWAY AUTHORITY





QMS MANUAL
Procedure Definition

	NTTA Projects
	Original Issue Date: 06/05/2008
	FD-01-F9

	Resource: Final Design 
	Revision 1  Issue Date: TBD
	13 pages

	Title: Constructability Review – Checklists




QMS MANUAL
Procedure Definition

	NTTA Projects
	Original Issue Date: 06/05/2008
	FD-01-F9

	Resource: Final Design 
	Revision 0  Issue Date:  07/14/2025
	13 pages

	Title: Constructability Review – Checklists



	Contract Number:      

	Project Name/Location:      

	Reviewed By:      
	Date:      

	Functional Unit: DESIGN MANAGER

	Review Level
	Key Constructability Issues
	Reviewed At: 

	
	
	30%
	60%
	90%

	1,2,3
	All items of work shown on plans are specified in contract proposal and match pay items
	
	
	

	1,2,3
	Description and units of measure are consistent with PS&E
	
	
	

	1,2,3
	Railroad involvement on plans identified/resolved, details included in plans
	
	
	

	1
	Railroad clauses provided
	
	
	

	1,2,3
	Cross sections are developed as required
	
	
	

	1,2,3
	Standard plans lists are complete and accurate
	
	
	

	1,2,3
	Typical sections includes existing conditions
	
	
	

	1,2,3
	Necessary construction details complete in project plans
	
	
	

	1,2,3
	Drainage profiles and hydraulic data tables are included as required
	
	
	

	1,2,3
	Detours, traffic control plans and traffic control notes and specifications are included as required
	
	
	

	1,2,3
	Summary of quantities are tabulated and summarized correctly
	
	
	

	1,2,3
	Utility plans complete and high risk utilities identified and located on plans
	
	
	

	1,2,3
	Log of test borings included for all retaining and noise barrier projects
	
	
	

	1
	Number of working days sufficient for the type of work
	
	
	

	1
	Liquidated damages calculated per project complexity
	
	
	

	1,2,3
	Lane closure charts are included
	
	
	

	1,2,3
	All specifications have necessary measurement and payment clauses
	
	
	

	1,2,3
	All permits are obtained and requirements needed are incorporated in the contract proposal/specifications
	
	
	

	1,2,3
	Environmental sensitive areas are identified on plans and included in contract proposal/specifications
	
	
	

	1,2,3
	Storm water pollution prevention plan issues are addressed
	
	
	

	1
	Previous suggestions/corrections have been addressed
	
	
	


	Contract Number:      

	Project Name/Location:      

	Reviewed By:      
	Date:      

	Functional Unit: DESIGN MANAGER

	Review Level
	Key Constructability Issues
	Reviewed At: 

	
	
	30%
	60%
	90%

	1
	Preliminary structures studies performed
	
	
	

	1
	Preliminary materials investigation conducted
	
	
	

	1,2,3
	Drainage mitigation measures proposed
	
	
	

	1,2,3
	Development of workable construction staging plans/detour routes complete and shown on plans
	
	
	

	1,2,3
	Specifications for traffic handling and lane closures are included
	
	
	

	1
	Conflicts with on-going projects identified
	
	
	

	1,2,3
	Construction easements adequate
	
	
	

	1,2,3
	Identification and avoidance of Section 4(f) properties
	
	
	

	1,2,3
	All necessary permits to construct identified/acquired
	
	
	

	1,2,3
	Adequate access for residence and business in areas under construction
	
	
	

	1,2,3
	Hazardous waste sites identified and mitigation plan developed
	
	
	

	1,2,3
	Drainage interface with adjoining projects
	
	
	

	1,2,3
	Consistency between roadway and structure plans
	
	
	

	1
	Project materials report recommendations for: 
	
	
	

	
	Embankment foundations and settlement estimates
	
	
	

	
	Subsurface/underground control
	
	
	

	1
	Construction window impacts by:
	
	
	

	
	Environmental agencies
	
	
	

	
	Seasonal
	
	
	

	1
	Traffic management plan has been developed, if required
	
	
	

	1
	Signing and pavement delineations plans
	
	
	


	Contract Number:      

	Project Name/Location:      

	Reviewed By:      
	Date:      

	Functional Unit: SIGNAGE & ELECTRICAL DESIGN

	Review Level
	Key Constructability Issues
	Reviewed At: 

	
	
	30%
	60%
	90%

	1
	All sign structures and foundations designed and calculations submitted
	
	
	

	1
	All roadside signs include size and type of posts, details shown
	
	
	

	1,2,3
	Staging plans show how traffic is being controlled for each stage and each traffic stage shows striping/marker plan 
	
	
	

	1,2,3
	Signing and pavement delineations plans are clear 
	
	
	

	1,2,3
	Roadside lighting plan is compatible with NTTA standards and details
	
	
	

	1,2,3
	Power source identified for permanent and temporary electrical systems, fiber optic network connections identified
	
	
	

	1
	Previous suggestions/corrections addressed 
	
	
	


	Contract Number:      

	Project Name/Location:      

	Reviewed By:      
	Date:      

	Functional Unit: CONSTRUCTION MANAGEMENT

	Review Level
	Key Constructability Issues
	Reviewed At: 

	
	
	30%
	60%
	90%

	1
	Any conflicts with on-going contracts/projects
	
	
	

	1,2,3
	All necessary permits to construction identified and acquired
	
	
	

	1
	Cross sections are developed as required 
	
	
	

	1,2,3
	Typical cross sections includes existing conditions
	
	
	

	1,2,3
	Number of working days sufficient for the type of work
	
	
	

	1
	Liquidated damages calculated per project complexity
	
	
	

	1,2,3
	Detour, traffic control plans, and stage construction plans are included as required 
	
	
	

	1,2,3
	Utility plans complete and high risk utilities identified and located on plans 
	
	
	

	1,2,3
	Construction details are complete and buildable 
	
	
	

	1,2,3
	Log of test borings included for all retaining and sound wall projects 
	
	
	

	1,2,3
	Drainage profiles included as required 
	
	
	

	1
	Railroad involvement on plans resolved 
	
	
	

	1,2
	Adequate access as required for residents/businesses in areas under construction is obtained 
	
	
	

	1,2,3
	Impacts of construction windows required by environmental agencies, adjacent cities, municipalities 
	
	
	

	1
	Previous suggestions/corrections addressed 
	
	
	


	Contract Number:      

	Project Name/Location:      

	Reviewed By:      
	Date:      

	Functional Unit: LANDSCAPE ARCHITECT 

	Review Level
	Key Constructability Issues
	Reviewed At: 

	
	
	30%
	60%
	90%

	1,2,3
	Mitigation or replacement planting during construction addressed
	
	
	

	1
	Existing as-builts irrigation systems have been verified 
	
	
	

	1
	Power locations for irrigation timers have been identified
	
	
	

	1
	Verify existence of utility crossovers 
	
	
	

	1
	Water supply line (through bridges) has been incorporated in bridge plans 
	
	
	

	1
	Cost break-down included
	
	
	

	1
	Environmentally sensitive areas identified on plans 
	
	
	

	1,2,3
	Plantings consistent with NTTA SWDG
	
	
	

	1,2,3
	Consistent with NTTA Maintenance Design Guidelines 
	
	
	

	1
	Previous suggestions/corrections addressed 
	
	
	


	Contract Number:      

	Project Name/Location:      

	Reviewed By:      
	Date:      

	Functional Unit: MATERIALS & GEOTECHNICAL  

	Review Level
	Key Constructability Issues
	Reviewed At: 

	
	
	30%
	60%
	90%

	1,2,3
	Test methods comply with NTTA, TxDOT, ASTM, or AASHTO requirements 
	
	
	

	1
	Project materials report recommendations followed for: 
	
	
	

	
	Structural section design
	
	
	

	
	Slope design
	
	
	

	
	Embankment foundations and settlement estimates
	
	
	

	
	Subsurface/ground water control
	
	
	

	
	Earthwork 
	
	
	

	1
	Geotechnical baseline information (as appropriate) 
	
	
	

	1
	Available material sources identified 
	
	
	

	1
	Previous suggestions/corrections addressed 
	
	
	


	Contract Number:      

	Project Name/Location:      

	Reviewed By:      
	Date:      

	Functional Unit: ENVIRONMENTAL 

	Review Level
	Key Constructability Issues
	Reviewed At: 

	
	
	30%
	60%
	90%

	1
	Is an environmental re-evaluation required or needed 
	
	
	

	1,2,3
	Do noise barrier designs conform to environmental requirements 
	
	
	

	1,2,3
	Are design noise levels affected by minor design changes
	
	
	

	1,2,3
	All permit requirements determined and requests issued 
	
	
	

	1,2,3
	Do plans and specifications include noise mitigation measures during construction 
	
	
	

	1,2,3
	Are all permit requirements satisfied and permit receipt progressing on schedule 
	
	
	

	1,2,3
	Is there a list of recommendations and commitments for permit requirements including schedules and commitments provided by the permitting agency 
	
	
	

	1,2,3
	Are environmentally sensitive areas included on design plans 
	
	
	

	1,2,3
	Mitigation monitoring program established and feasible 
	
	
	

	1,2,3
	Is there a temporary erosion and sedimentation control plan 
	
	
	

	1,2
	Environmental construction windows identified 
	
	
	

	1
	Previous suggestions/corrections addressed 
	
	
	


	Contract Number:      

	Project Name/Location:      

	Reviewed By:      
	Date:      

	Functional Unit: MAINTENANCE 

	Review Level
	Key Constructability Issues
	Reviewed At: 

	
	
	30%
	60%
	90%

	1,2,3
	Access for maintenance personnel (trash, landscape, electrical, structural, and parking) 
	
	
	

	1,2,3
	Provisions for maintenance cleanouts for drainage 
	
	
	

	1
	Previous suggestions/corrections addressed 
	
	
	


	Contract Number:      

	Project Name/Location:      

	Reviewed By:      
	Date:      

	Functional Unit: HYDRAULICS 

	Review Level
	Key Constructability Issues
	Reviewed At: 

	
	
	30%
	60%
	90%

	1
	Approved preliminary drainage report 
	
	
	

	1
	Approved vertical and horizontal alignment 
	
	
	

	1
	Typical cross sections
	
	
	

	1,2
	Preliminary drainage plans 
	
	
	

	1,2,3
	Maintainable facility with sufficient ROW and/or drainage easements 
	
	
	

	1
	Utilization of correct erosion control factors for slop soil loss, stream aggradation/degradation outlet velocities 
	
	
	

	1
	Subsurface conditions studied adequately including groundwater control 
	
	
	

	1
	Flow diversion/connection approved by appropriate agencies 
	
	
	

	1
	Drainage for construction staging 
	
	
	

	1
	Drainage interface with adjoining projects of future projects 
	
	
	

	1,2
	Drainage plans: profiles and details are sufficient including special designs for large underground structures 
	
	
	

	1,2
	Grading plans 
	
	
	

	1,2,3
	Noise barrier and/or retaining wall drainage plans adequate 
	
	
	

	1,2,3
	Erosion control plans complete and sufficient 
	
	
	

	1
	Pipe jacking method appropriate for given site conditions 
	
	
	

	1
	Materials report recommendations for backfill adequate 
	
	
	

	1,2,3
	Drainage is consistent with roadway and structure plans 
	
	
	

	1,2,3
	Drainage quantity estimates are accurate 
	
	
	

	1,2,3
	Drainage specifications adequate 
	
	
	

	1,2,3
	All required permits obtained including cooperative agreements 
	
	
	

	1
	Floodplain issues resolved (ie – impact on base flood elevation) 
	
	
	

	1
	Computability of project with future projects 
	
	
	

	1
	Previous suggestions/corrections have been addressed
	
	
	


	Contract Number:      

	Project Name/Location:      

	Reviewed By:      
	Date:      

	Functional Unit: HYDROLOGY  

	Review Level
	Key Constructability Issues
	Reviewed At: 

	
	
	30%
	60%
	90%

	1,2
	Ultimate drainage basin design protects private property and Tollway against flooding 
	
	
	

	1,2
	Minimum diversion of natural stream flow 
	
	
	

	1,2
	SAG points of depressed sections of alignment designed for 25-year storm 
	
	
	

	1,2
	Upstream and downstream affect on run-off is addressed 
	
	
	

	1,2
	Are water quality (surface groundwater) impacts anticipated and mitigated (detention and/or retention ponds required) 
	
	
	

	1
	Are dewatering systems needed 
	
	
	

	1
	Previous suggestions/corrections addressed 
	
	
	


	Contract Number:      

	Project Name/Location:      

	Reviewed By:      
	Date:      

	Functional Unit: ROW 

	Review Level
	Key Constructability Issues
	Reviewed At: 

	
	
	30%
	60%
	90%

	1,2,3
	ROW boundaries include all highway facilities 
	
	
	

	1
	All construction and footing easements are identified 
	
	
	

	1,2
	All appraisals, acquisitions, and relocation assistance procedure/processes are conducted in accordance with Federal and State regulations 
	
	
	

	1,2,3
	All high risk utility relocations identified 
	
	
	

	1,2
	Railroad agreements contain necessary language with regard to insurance, maintenance, construction, costs, and clearance issues 
	
	
	

	1,2
	Environmental mitigation agreements cover wetland facilities or other mitigation issues contained in the environmental impact statement
	
	
	

	1,2,3
	All easements are reviewed before granting 
	
	
	

	1,2,3
	Schedule of all utility relocations required prior to start of construction is identified 
	
	
	

	1,2
	All hazardous waste procedures are satisfactorily completed and necessary clearance documents obtained 
	
	
	

	1,2,3
	All ROW has been certified 
	
	
	

	1
	Previous suggestions/corrections addressed 
	
	
	


	Contract Number:      

	Project Name/Location:      

	Reviewed By:      
	Date:      

	Functional Unit: SURVEYS  

	Review Level
	Key Constructability Issues
	Reviewed At: 

	
	
	30%
	60%
	90%

	1,2,3
	Horizontal control information: 

IE: NAD_____ monument used for control 
	
	
	

	1,2,3
	Vertical control: Datum used and benches for vertical control 
	
	
	

	1,2,3
	Bearings, stationing, curve information (alignment) 
	
	
	

	1,2,3
	All dimensions 
	
	
	

	1,2,3
	Drainage plans and profiles 
	
	
	

	1,2,3
	Determine that the plans are stakeable from a construction survey point of view 
	
	
	

	1,2,3
	ROW summary traverses 
	
	
	

	1,2,3
	Sub-grade and finished grade slope stake listings 
	
	
	

	1,2,3
	Cross section – with finished and sub-grade  
	
	
	

	1
	Previous suggestions/corrections addressed 
	
	
	


	Contract Number:      

	Project Name/Location:      

	Reviewed By:      
	Date:      

	Functional Unit: PROJECT IDENTIFICATION DOCUMENT   

	Review Level
	Key Constructability Issues
	Issues Addressed: 

	
	
	YES
	NO
	N/A

	1
	Alternatives identified/staging for each alternative (initial viable staging) 
	
	
	

	1
	Preliminary environmental evaluation prepared for each feasible alternative (impacts to and of construction) 
	
	
	

	1
	Results of initial site assessments for hazardous waste 
	
	
	

	1,2,3
	Preliminary traffic control plans developed as required 
	
	
	

	1
	Preliminary structures studies performed – advanced planning studies 
	
	
	

	1
	Preliminary materials investigation conducted 
	
	
	

	1,2,3
	All permits identified (impacts to construction schedule and methods) 
	
	
	

	1,2,3
	Drainage information (impacts to staging and temporary schedule) 
	
	
	

	1,2,3
	Impacts on railroads (coordination with highway construction) 
	
	
	

	1,2,3
	Impacts on utilities (coordination with highway construction) 
	
	
	

	1
	Construction windows if required (environmental) 
	
	
	

	1
	Construction windows if required (traffic) 
	
	
	

	1
	Construction windows if required (seasonal) 
	
	
	







Page 13 of 13





Page 1 of 13

